## X-ray
Imaging Equipment/Scanner - 10 years replacement period | Site | Location | Room | Equipment Type | Manufacturer | Equipment Model | Year of Manufacture | Date of installation | Replacement Date/Expected working life
| BCH | Tower block | Room 4 | X-ray room | Carestream | DRX Evolution Pro | 2024-05-01 | 2025-01-04 | 2035-01-04
| BCH | Tower block | Room 5 | X-ray room | Carestream | DRX Evolution Plus | 2018-02-01 | 2019-03-01 | 2029-03-01
| BCH | Tower block | Room 6 | X-ray room | Carestream | DRX Evolution Plus | 2022-03-01 | 2023-05-02 | 2033-05-02
| BCH | Tower block | Room 7 | X-ray room | Carestream | DRX Evolution Plus | 2021-09-01 | 2022-06-01 | 2032-06-01
| BCH | NICC | NICC 1 | X-ray room | GE | Discovery XR656 Chest Stand | 2021-09-01 | 2022-02-01 | 2032-02-01
| BCH | NICC | NICC 2 | X-ray room | GE | Discovery XR656HD | 2020-11-01 | 2021-03-01 | 2031-03-01
| MIH | Main X-ray | Room 2 | X-ray room | Fujifilm | FDR Visionary Suite | 2022-01-25 | 2023 | 2033
| MIH | Main X-ray | Room 3 | X-ray room | Carestream | Carestream DRx evolution | 2018-02-01 | 2015-02-01 | 2025-02-01
| MIH | ED X-ray | ED 1 | X-ray room | Fujifilm | FDR Visionary Suite | 2022-11-04 | 2023 | 2033-05-04
| MIH | ED X-ray | ED 2 | X-ray room | Fujifilm | FDR Visionary Suite | 2022-04-25 | 2023 | 2033
| MPH | Main X-ray | Room 1 | X-ray room | Siemens | Ysio Max | 2019-11-01 | 2020-03-01 | 2030-03-31
| MPH | Main X-ray | Room 3 | X-ray room | Siemens | Ysio Max | 2022-04-01 | 2023-01-05 | 2033-01-05
| MPH | Main X-ray | Room 4 | X-ray room | Siemens | Ysio Max | 2021-05-01 | 2022-03-15 | 2032-03-01
| MPH | Main X-ray | Room 5 | X-ray room | Fujifilm | FDR Visionary Suite | 2022-10-18 | 2023-04-24 | 2033-04-24
| MPH | Main X-ray | Room 6 | X-ray room | Fujifilm | FDR Visionary Suite | 2022-09-30 | 2023-03-21 | 2033-03-21
| RBHSC | Main X-ray | Main X-ray | X-ray room | Medray | Carestream DRX Evolution 65KW | 2014-02-01 | 2014-03-01 | 2024-03-31
| RBHSC | ED X-ray | ED X-ray | X-ray room | Siemens | Ysio Max | 2023 | 2023-09-01 | 2033-09-01
| RVH | Main X-ray, Level 2 | Room 1 | X-ray room | Philips | Digital diagnost | 2016-09-01 | 2016 | 2026
| RVH | Main X-ray, Level 2 | Room 4 | X-ray room | Philips | Digital diagnost | 2015-11-01 | 2016 | 2026
| RVH | Main X-ray, Level 2 | Room 5 | X-ray room | Philips | Digital diagnost | 2016-08-01 | 2016 | 2026
| RVH | Main X-ray, Level 2 | Room 6 | X-ray room | Philips | Digital diagnost C90 | 2021-12-01 | 2022 | 2032
| RVH | Main X-ray, Level 2 | Room 7 | X-ray room | Philips | Digital diagnost | 2016-07-01 | 2016 | 2026
| RVH | Main X-ray, Level 2 | Room 8 | X-ray room | Philips | Digital diagnost | 2018-03-01 | 2015 | 2025

## Fluoro
Imaging Equipment/Scanner- 10 years replacement period | Site | Location | Room | Equipment Type | Manufacturer | Equipment Model | Year of Manufacture | Date of installation | Replacement Date/Expected working life
| BCH | Tower block | Room 3 | Fluoro Room | Siemens | Artis Zee Multi-purpose | 2010-05-01 | 2011-03-31 | 2021-03-31
| BCH | Cancer Centre | MPI Room | Fluoro/IR Room | HSL | Intelli-C Nexus DRF | 2023-09-01 | 2023-12-04 | 2033-12-04
| MIH | Main X-ray | Room 1 | Fluoro Room | Toshiba | Ultimax-i | 2015-01-01 | 2017-03-01 | 2027-03-01
| MPH | Main X-ray | Room 2 | Fluoro Room | Siemens | Artis Zee Multi-purpose | 2018-02-01 | 2018 | 2028
| RBHSC | Main X-ray | Pink Room | Fluoro Room | HSL | NRT Intelli-C | 2024-02-01 | 2024-02-05 | 2034-02-05
| RBHSC | Main X-ray | Green Room | Fluoro Room | Siemens | Luminos DRF | 2014-01-01 | 2014-03-01 | 2024-03-01
| RVH | Level 4 | FL1 | Fluoro Room | Siemens | Artis Zee Multi-purpose | 2018-03-01 | 2018 | 2028-03-01

## Mobiles
Imaging Equipment/Scanner- 10 years replacement period | Site | Location | Room | Equipment Type | Manufacturer | Equipment Model | Year of Manufacture | Date of installation | Replacement Date/Expected working life
| BCH | Tower block | Main X-ray | Mobile DR unit | Fuji | Fuji Nano | 2020-07-01 | 2021-09-01 | 2031-09-01
| BCH | Tower block | Main X-ray | Mobile DR unit | Fuji | Fuji Nano | 2020-07-01 | 2021-09-01 | 2031-09-01
| BCH | NICC | NICC X-ray | Mobile DR unit | Philips | Diagnost wDR Skyflow (MES) | 2017-03-01 | 2017-06-01 | 2027-06-01
| MIH | Main X-ray | Main X-ray | Mobile DR unit | AGFA | AGFA DR 100s | 2020-07-06 | 2021-08-01 | 2031-08-01
| MIH | Main X-ray | Main X-ray | Mobile DR unit | Carestream | DRX Revolution -1 | 2017-02-01 | 2017-03-01 | 2027-03-01
| MIH | Main X-ray | Main X-ray | Mobile DR unit | Fuji | FDR Nano | 2020-07-01 | 2024-11-04 | 2030-07-01
| MPH | Main X-ray | Main X-ray | Mobile DR unit | Siemens | Mobilett Elara | 2020-05-01 | 2020-07-01 | 2030-05-01
| MPH | Main X-ray | Main X-ray | Mobile DR unit | Siemens | Mobilett Elara | 2022-03-01 | 2022-05-10 | 2031-06-14
| RBHSC | ICU port | ICU | Mobile DR unit | Carestream | DRX Revolution K5241-4410 | 2013-12-01 | 2014-04-06 | 2024-03-31
| RBHSC | Main X-ray | Main X-ray | Mobile DR unit | Siemens | elara max port 4 | 2022-12-01 | 2023-04-13 | 2033-04-13
| RBHSC | Main X-ray | Main X-ray | Mobile DR unit | Siemens | elara max port 5 | 2022-12-01 | 2023-04-13 | 2033-04-13
| RVH | RMJH | NICU | Mobile DR unit | Carestream | DRX Revolution Nano | 2020-11-01 | 2021-03-31 | 2031-03-29
| RVH | Level 2 | Main X-ray | Mobile DR unit | Philips | Mobile Diagnost wDR | 2020-07-01 | 2020-11-19 | 2030-12-31
| RVH | Level 2 | Main X-ray | Mobile DR unit | Philips | Mobile Diagnost wDR | 2011-09-01 | 2012-03-05 | 2022-12-31
| RVH | Level 2 | Main X-ray | Mobile DR unit | Philips | Mobile Diagnost wDR | 2020-11-01 | 2020-03-27 | 2030-12-31
| RVH | Level 2 | Main X-ray | Mobile DR unit | Philips | Mobile Diagnost wDR | 2013-03-01 | 2012-03-05 | 2022-12-31
| RVH | Level 2 | Main X-ray | Mobile DR unit | Philips | Mobile Diagnost wDR | 2020-07-01 | 2015-03-09 | 2025-12-31
| RVH | Level 2 | Main X-ray | Mobile DR unit | Philips | Mobile Diagnost wDR | 2016-06-01 | 2017-05-17 | 2027-12-31
| RVH | RMJH | NICU | Mobile DR unit | Philips | Mobile Diagnost wDR | 2015-03-01 | 2020-03-03 | 2025-12-31

## Theatres
Imaging Equipment / Scanner - 10 years replacement period | Site | Location | Room | Equipment Type | Manufacturer | Equipment Model | Year of Manufacture | Date of installation | Replacement Date/Expected working life
| BCH | Not owned by Imaging - listed under Other Services Equipment tab | / | / | / | / | / | / | /
| MIH | Not owned by Imaging - listed under Other Services Equipment tab | / | / | / | / | / | / | /
| MPH | Theatres | Main X-ray | Surgical C-arm | Philips | Zenition 70 | 2022 | 2023-08-30 | 2033-08-30
| MPH | Theatres | Main X-ray | Surgical C-arm | Philips | Zenition 70 | 2025 | 2025-04-30 | 2035-04-30
| MPH | Theatres | Main X-ray (Duke of Connaught) | Surgical C-arm | Philips | BV Endura 9 718075 (Doc) owned by MPH Theatres | 2014 | 2015-03-01 | 2025-03-28
| MPH | Theatres | Main X-ray | Surgical C-arm | Philips | BV Endura 9 718075 (Kristoff) Owned by MPH Theatres | 2014 | 2015-03-01 | 2025-03-28
| MPH | Theatres | Main X-ray | Surgical C-arm | Philips | BV Endura 9 718075 (Winter) | 2014 | 2015-03-01 | 2025-03-28
| RBHSC | Theatres | Theatres | Surgical C-arm | Philips | Endura | 2021-03-01 | 2021-04-22 | 2031-04-22
| RBHSC | Theatres | Theatres | Surgical C-arm | Philips | Pulsera | 2016-05-01 | 2017-03-01 | 2027-03-01
| RVH | Level 3 | Theatres | Surgical C-arm | Philips | BV Pulsera | 2018-04-01 | 2018 | 2028
| RVH | Level 3 | Theatres | Surgical C-arm | Philips | BV Pulsera | 2018-05-01 | 2018 | 2028
| RVH | Level 3 | Theatres | Surgical C-arm | Philips | BV Pulsera | 2017-11-01 | 2017 | 2027
| RVH | Level 3 | Theatres | Surgical C-arm | Philips | BV Pulsera | 2017-11-01 | 2017 | 2027
| RVH | Level 3 | Theatres | Surgical C-arm | Philips | Veradius | 2016-09-01 | 2016 | 2026

## CT
Imaging Equipment/Scanner- 8 years replacement period | Site | Location | Room | Equipment Type | Manufacturer | Equipment Model | Year of Manufacture | Date of installation | Replacement Date/Expected working life
| BCH | Tower block | CT1 | CT scanner | Philips | 7500 | 2023 | 2023 | 2031
| BCH | Tower block | CT2 | CT scanner | Philips | IQON Spectral | 2023 | 2023 | 2031
| BCH | NICC | CT3 | CT scanner | Philips | Ingenuity 128 slice | 2017 | 2017 | 2025
| BCH | NICC | CT4 | CT scanner | GE | Revolution Frontier | 2022 | 2022 | 2030
| MIH | CT department | CT | CT scanner | Siemens | Siemens Somatom X-cite | 2024 | 2024 | 2032
| MPH | CT department | CT1 | CT scanner | Siemens | Siemens Somatom X-cite | 2025 | 2025 | 2033
| MPH | Regional Mobile unit | CTPOD | CT scanner | GE | Revolution EVO | 2020 | 2020 | 2028
| RBHSC | A&E | CT | CT scanner | GE | Optima 660 | 2014-02-01 | 2014 | 2022
| RVH | Level 3 | CT1 - currently undergoing replacement | CT scanner | Siemens | Naeotom Alpha | 2025 | expected late September 2025
| RVH | Level 3 | CT2 | CT scanner | Philips | IQON Spectral | 2018 | 2018 | 2026
| RVH | Level 2 | CT3 | CT scanner | Philips | Ingenuity 128 | 2015 | 2015 | 2023
| RVH | Level 2 | CT4 | CT scanner | Philips | 7500 Spectral | 2021 | 2022 | 2030

## IR
Imaging Equipment/Scanner- 7/8 years replacement period (7 for US) | Site | Location | Room | Equipment Type | Manufacturer | Equipment Model | Year of Manufacture | Date of installation | Replacement Date/Expected working life
| BCH | BCH IR | Endovascular suite | IR Equipment (single plane) | Siemens | Artis Icono | 2025 | 2025-04-23 | 2033
| BCH | BCH IR | Endovascular suite | Portable Ultrasound | Philips | Affinity US | 2018 | 2025-06-01 | 2025
| BCH | BCH IR | Endovascular suite | Portable Ultrasound | Canon | Canon Xario 200G | 2019 | 14.03.2021 | 2028
| RBHSC | Main X-ray | Pink Room | US system | Canon | Canon CUS-X200G | 2020 | 26.03.2020 | 2027
| RVH | Level 3 IR | IV1 | IR Equipment (single plane) | Philips | Allura Clarity FD20 | 2016 | 2016-10-12 | 2024-01-01
| RVH | Level 3 IR | IV2 (undergoing refurbishment - ?functioning in September) | IR Equipment (bi plane) | Siemens
| RVH | Level 3 IR | IV3 | IR Equipment (bi plane) | Philips | Azurion | 2022 | 2023-02-01 | 2031-02-01
| RVH | A-Block Theatres | Vascular Theatres | Image Intensifier | Philips | Veradius | 2017 | 2017-10-12 | 2027-10-12
| RVH | A-Block Theatres | Vascular Theatres | Image Intensifier | Ziehm | Ziehm Vision RFD | 2012 | 2013-03-12 | 2023-03-12
| RVH | Level 3 IR | IV1 | Portable Ultrasound | SAMSUNG | RS85 Prestige | 2024 | 2024-10-28 | 2031-10-28
| RVH | Level 3 IR | IV2 | Portable Ultrasound | SAMSUNG | V5 | 2024 | 2024-10-28 | 2031-10-28
| RVH | Level 3 IR | IV3 | Portable Ultrasound | SAMSUNG | RS85 Prestige | 2024 | 2024-10-28 | 2031-10-28
| RVH | Dayward lR Level 3 | IR Level 3 | Portable Ultrasound | GE | Venue Go | 2020 | 2020-04-01 | 2027-04-01
| RVH | Dayward lR Level 3 | IR Level 3 | Portable Ultrasound | Canon | Aplio 1700 | 2022 | 06/01/2022 | 2029-06-01
Note on G6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Being replaced with Artis Icono late 2025

## Dental
Imaging Equipment/Scanner- 10 years replacement period | Site | Location | Room | Equipment Type | Manufacturer | Equipment Model | Year of Manufacture | Date of installation | Replacement Date/Expected working life
| SOD | X-ray | Room 1 | Intraoral x-ray unit | Belmont | PHOT-X II 303 | 2012 | 2013-01-25 | 2023-01-25
| SOD | X-ray | Room 2 | Intraoral x-ray unit | Belmont | PHOT-X II 303 | 2010 | 2011-07-18 | 2021-07-18
| SOD | X-ray | Room 3 | OPT with ceph attachment | Sirona | Orthophos XG3D Ready | 2012 | 2013-03-08 | 2023-03-08
| SOD | X-ray | Room 3 | Cone beam CT unit (CBCT) | Carestream | CS9600 | 2022 | 2022-08-15 | 2032-08-15
| SOD | X-ray | Room 4 | Intraoral x-ray unit | Belmont | PHOT-X II 303 | 2008 | 2009-05-28 | 2019-05-28
| SOD | X-ray | Room 4 | OPT | Sirona | Orthophos XG3 | 2018 | 2020-08-27 | 2030-08-27
| SOD | X-ray | Room 5 | Intraoral x-ray unit | Belmont | PHOT-X II 303 | 2012 | 2013-01-25 | 2023-01-25
| MIH | ED X-ray | Room 2 | OPG | NewTom | Orthopan | 2019-10-29 | 2019-06-07 | 2029-06-07
| RBHSC | ED X-ray | ED X-ray | OPG | Sirona | Orthophos XG3DS | 2016-11-01 | 2017-03-01 | 2027-03-31
| RVH | Level 2 | Room 1 | OPG | Planmeca | Pro Max | 2022-07-01 | 2022 | 2032

## DEXA & NM
Imaging Equipment/Scanner - 10 years replacement period | Site | Location | Room | Equipment Type | Asset No. | Manufacturer | Equipment Model | Year of Manufacture | Date of installation | Replacement Date/Expected working life
| MPH | Main X-ray | Dexa room 1 | Dexa scanner | 30009191 | GE | iDXA lunar scanner | 2024-07-01 | 2024-11-26 | 2034-11-01
| MPH | Main X-ray | Dexa room 2 | Dexa Scanner | 30009154 | GE | iDXA lunar scanner | 2024-07-01 | 2024-09-19 | 2034-09-01
| RBHSC | ED X-ray | DEXA | Dexa Scanner | 46306 | Hologic | Horizon A | 2021-03-01 | 2021-10-11 | 2031-12-11
| RBHSC | NM Dept | Nuclear Medicine | Gamma Camera | 60035 | Siemens | SYmbia Evo | 2022 | 2022-11-15 | 2032-11-15

## Other Services Equipment
Imaging Equipment/Scanner | Site | Location | Equipment Type | Manufacturer | Equipment Model | Year of Manufacture | Date of installation | Replacement Date/Expected working life
| Mater | Main theatres Level 3 Demsey Building | C-Arm | Ziehm imaging | Ziehm Vision | 2021 | 2021-03-01 | 2031
| RVH | Level 3 fracture Theatres | Mini C-Arm Insight FD | Hologic | PXS11-100-35-Rohs | 2018 | 2018-04-26
| RVH | Level 2 radiology | O-Arm | Medtronic | B170002000/ 9735665 | 2023 | 2023
| RVH | Level 2 day Procedure Unit | C-Arm | Siemens | Siemens Cios Fusion | 2017 | 2017-10-25
| RVH | Level 3 Equipment store | 3D C-Arm | Xograph | Ziehm Vision RFD 3D CMOS | 2022 | 2022-03-01
| RVH | Level 3 Equipment store | 2D C-Arm | Philips | BV Endure R2.3 | 2021 | 2021-03-01
| RVH | LEVEL 3 Equipment store | Phillips Veradius | Philips | 459800447012/000160 | 2015 | ? | 2025-12-01
| RVH | Level 3 th11 | GE Discovery IDS7 | GE | 80071260393 | 2019 | 2022-01-06 | 2032-01-06
| BCH | Endoscopy | C-Arm/screen | Siemens | CIOS Fusion | 2020 | 2020-10-01
| BCH | Theatre tower | C-Arm 1 | Ziehm | SOLO | 2022 | 2022-03-31
| BCH | Theatre tower | C-Arm 2 | Ziehm | SOLO | 2018 | 2018-03-31
| BCH | DPU GROBB | FIXED C-Arm | Siemens | Omnia Max | 2017 | 2017-10-31
| BCH | URO DAY CARE level 3 | C-Arm | Ziehm | SOLO | 2014 | 2014-03-31
| MPH | MPH Theatre | Mini C-Arm | Hologic | PXS11-100-35-Rohs | 2016 | 2017-01-01 | 2027-01-01
| MPH | MPH Theatre | Mini C-Arm | Hologic | PXS11-100-35-Rohs | 2022 | 2022-01-01 | 2032-01-01
| MPH | MPH Theatre | Mini C-Arm | Hologic | PXS11-100-35-Rohs | 2021 | 2021-03-01 | 2031-03-01
| MPH | MPH Theatre | Mini C-Arm | Hologic | PXS11-100-35-Rohs | 2024 | 2025-01-01 | 2035-01-01

## US
Imaging Equipment/Scanner- 5 years replacement period | Site | Location | Room | Equipment Type | Manufacturer | Equipment Model | Year of Manufacture | Date of installation | Radiation Risk Assessment completed? | Replacement Date/Expected working life
| BCH | Lorimer Suite | Room 1 | Ultrasound Scanner | Canon | APLIO I Prism Ed | 2024 | 2024-04-03 | N/A | 2029
| BCH | Lorimer Suite | Room 2 | Ultrasound Scanner | Canon | Aplio i800 | 2021 | 2021-03-02 | N/A | 2026
| BCH | Lorimer Suite | Room 3 | Ultrasound Scanner | Canon | Aplio i800 | 2021 | 2021-03-02 | N/A | 2026
| BCH | NICC | Room 4 | Ultrasound Scanner | Canon | Aplio I Prism Ed | 2025 | 2025-06-25 | N/A | 2030
| BCH | NICC | Room 5 | Ultrasound Scanner | Canon | Aplio I Prism Ed | 2025 | 2025-02-01 | N/A | 2030
| MIH | MIH Ultrasound | Room 1 | Ultrasound Scanner | Canon | APLIO i800 | 2018-12 | 2019-03-01 | N/A | 2024
| MIH | MIH Ultrasound | Room 2 | Ultrasound Scanner | Canon | APLIO i800 | 2018-12 | 2019-03-01 | N/A | 2024
| MPH | MPH Ultrasound | Room 1 | Ultrasound Scanner | Canon | Aplio i800 | 2019 | 23.6.20 | n/a | 2025
| MPH | MPH Ultrasound | Room 2 | Ultrasound Scanner | Canon | Aplio i800 | 2021 | 26.3.21 | n/a | 2026
| MPH | MPH Ultrasound | Room 3 | Ultrasound Scanner | Canon | Aplio i800 | 2018 | 4.3.19 | n/a | 2024
| RBHSC | RBHSC Ultrasound Department | US1 | Ultrasound Scanner | MDI | GE Logiq E10s | 2024 | 06.02.2024 | N/A | 2029
| RBHSC | RBHSC ED Department | US ED | Ultrasound Scanner | MDI | GE Logiq S8 R4 OLED | 2021 | 30.03.2021 | N/A | 2026
| RBHSC | RJMH Neonatal Unit | NICU RJMH | Ultrasound Scanner | MDI Medical | GE Logiq P9 | 2021 | 10.03.2021 | N/A | 2026
| RBHSC | RBHSC Ultrasound Department | US2 | Ultrasound Scanner | MDI Medical | GE Logiq E10S | 2021 | 23.03.2021 | N/A | 2026
| RVH | Level 4 | Room 1 | Ultrasound Scanner | Philips | Affiniti | 2018 | 2018 | N/A | 2023
| RVH | Level 4 | Room 2 | Ultrasound Scanner | Philips | Affiniti | 2018 | 2018 | N/A | 2023
| RVH | Level 4 | Room 3 | Ultrasound Scanner | Philips | Epiq 7G | 2021 | 2021 | N/A | 2026
| RVH | Level 4 | Room 4 | Ultrasound Scanner | Philips | Epiq 7G | 2020 | 2020 | N/A | 2025
| RVH | Level 4 | Room 5 | Ultrasound Scanner | Hitachi | Arietta 70 | 2018 | 2019 | N/A | 2024
| RVH | Level 4 | N/A | Portable Scanner | GE | GE VenueGo | 2020 | 2020 | N/A | 2025
| RVH | Level 4 | N/A | Portable Scanner | GE | GE VenueGo | 2020 | 2020 | N/A | 2025
| RVH | Level 4 | N/A | Portable Scanner | GE | GE VenueGo | 2020 | 2020 | N/A | 2025
| RVH | Level 4 | N/A | Portable Scanner | GE | GE VenueGo | 2020 | 2020 | N/A | 2025
| RVH | Level 3 | Room 6 | Ultrasound Scanner | Philips | Affiniti | 2018 | 2018 | N/A | 2023
| RVH | Dayward | Dayward | Ultrasound portable CX-50 | Philips | CX50 | 2015 | 2015 | N/A | 2020
| RVH | Zone B | Zone B | Ultrasound Scanner | Philips | Affiniti | 2018 | 2018 | N/A | 2023
| RVH | DPU | Endoscopy | EUS Processor | Pentax | EK-i5000 | 2020 | 2020 | N/A

## Breast
Imaging Equipment/Scanner- 9 years replacement period (5 for US) | Site | Location | Room | Equipment Type | Manufacturer | Equipment Model | Year of Manufacture | Date of installation | Radiation Risk Assessment completed? | Replacement Date/Expected working life
| Linenhall Street | Mammo suite | Room 2 | Mammography equipment | GE | Pristina | 2024 | 2024-03-11 | Yes | 2033-03-11
| Linenhall Street | Mammo suite | Room 3 | Mammography equipment | GE | Pristina | 2024 | 2024-06-05 | In Progress | 2033-06-01
| Linenhall Street | Mammo suite | Room1 | Mammography equipment | GE | Pristina | 2024 | 2024-04-30 | Yes | 2033-04-01
| Linenhall Street | Mammo suite | Room 1 | Ultrasound scanner | Canon | i700 | 2023 | 2024-03-01 | N/A | 2029-03-01
| Linenhall Street | Mammo suite | Room 2 | Ultrasound scanner | Canon | i700 | 2023 | 2024-03-01 | N/A | 2029-03-01
| ARDS | Mammo suite | Room 1 | Mammography equipment | Siemens | Revelation | 2024 | 2024-05-13 | In Progress | 2033-04-01
| Mobile | Mammo suite | Mobile | Mammography equipment | GE | Pristina | 2024 | 2025-08-01 | In Progress | 2033-08-01
| BCH | Mammo suite | Room 1 | Mammography equipment | GE | Pristina | 2024 | 2024-06-03 | In Progress | 2033-04-01
| BCH | Mammo suite | Room 3 | Mammography equipment | GE | Pristina | 2024 | 2024-03-04 | In Progress | 2033-03-04
| BCH | Mammo suite | Room 2 | Mammography equipment | GE | Pristina | 2024 | 2024-04-16 | In Progress | 2033-04-01
| BCH | Mammo suite | Room 3 | Ultrasound scanner | GE | LOGIQ E10S | 2023 | 2024-02-08 | N/A | 2029-02-08
| BCH | Mammo suite | Room 1 | Ultrasound scanner | GE | LOGIQ S8 R2 | 2020 | 2021-03-01 | N/A | 2026-03-01
| BCH | Mammo suite | Room 2 | Ultrasound scanner | GE | LOGIQ S8 R2 | 2021 | 2021-03-01 | N/A | 2026-03-01

## MRI
Imaging Equipment/Scanner- 7/8 years replacement period | Site | Location | Room | Equipment Type | Manufacturer | Equipment Model | Year of Manufacture | Date of installation | Replacement Date/Expected working life
| BCH | Tower block | MR1 | MRI scanner | Siemens | Sola Fit 1.5T | 2017(2025) | 2025 | 2032
| BCH | NICC | MR2 | MRI scanner | GE | 1.5T Optima 450W | 2015 | 2015 | 2023
| BCH | NICC | MR3 | MRI scanner | GE | 1.5TSigna Artist | 2024 | 2024 | 2031
| MIH | MRI Dept | MR1 | MRI scanner | Siemens | Magnetom Avanto 1.5T | 2007 | 2007 | 2015
| MPH | MRI Dept | MR1 | MRI scanner | Siemens | Aera 1.5T | 2019 | 2019 | 2026
| MPH | MRI Dept | MR2 | MRI scanner | Siemens | Lumina 3T | 2019 | 2019 | 2026
| RBHSC | MRI Dept | MRI | MRI scanner | Philips | Ingenia 1.5T | 2015 | 2015 | 2023
| RVH | Level 3 | MR 1 (MRSU 029) | MRI scanner | Philips | Ingenia 3.0T | 2016 | 2016 | 2024
| RVH | Level 3 | MR 2 (MRSU 025) | MRI scanner | Philips | Ingenia Ambition X .15T | 2021 | 2021 | 2028

## Replacement Schedule
Replacement Project | Replacement Year
BCH General X-Ray Room 4 | 24/25 | Completed
BCH Replacement CT scanner- CT3 MES | 24/25 | Completed
MPH CT Replacement | 24/25 | Completed
RBHSC X-Ray Replacement | 24/25 | Completed
BCH MRI Scanner Tower Block (MR1) | 24/25 | Completed
BCH Replacement US Probes | 24/25 | Completed
IR Replacement Probes | 24/25 | Completed
MPH Replacement US Probes | 24/25 | Completed
Replacement IR suite BCH | 24/25 | Completed
Anaesthetic Machine+monitoring BCH IR | 24/25 | Completed
General X-ray Room 4 BCH | 24/25 | Completed
MPH Replacement CT Scanner | 24/25 | Completed
RBHSC DR Room Replacement | 24/25 | Completed
Replacement MRI Scanner | 24/25 | Completed
BCH Replacement Probes US | 24/25 | Completed
Mar25 BCH - IR replacement probes | 24/25 | Completed
MPH Mobile Image Intensifier | 24/25 | Completed
BCH US machine 80k | 24/25 | Completed
MIH US Machine | 25/26 | Completed
MPH Image Intensifier
MPH US Machine | 25/26 | Completed
RBHSC CT
RBHSC DR Room | 25/26 | Ongoing
RBHSC Fluoro Room | 25/26 | Ongoing
RBHSC MRI Scanner |  | Planned 25/26
MIH MRI Replacement | 25/26 |  | Multi Year project
SOD Dental Equipment | 25/26 | Ongoing
RBHSC Mobile DR UNIT | 25/26 | Planned
RBHSC Mobile DR Unit | 25/26 | Planned
IR US Probe | 25/26 | Planned